DRAFT

Fairfield Public Schools

Long Range Facilities Plan

Addendum to July 10, 2008 Plan

Facilities, Technology,

Long-Term Planning Standing Committee

October 27, 2009

Long Range Planning Committee

Facilities Planning Committee

Standing Committee Meeting

Facilities, Technology, Long-Term Planning

Update

October 27, 2009

The Fairfield Board of Education’s Facilities, Technology and Long-Term Planning Standing Committee (“Committee”) is a sub-committee of the Fairfield Board of Education.  The Committee includes Brenda Kupchick, Chairman, John Mitola and Sue Brand.  Central Office administrative representatives include Deputy Superintendent Jack Boyle, Director of Operations Tom Cullen and Director of Elementary Education Anna Cutaia-Leonard.

The Committee’s primary purpose was to develop a school facility plan that meets the current and future needs of the district.  The Committee met on October 7, 2009 to update the facilities plan that the Board of Education adopted on July 10, 2008, with consideration to the most recent budget appropriations and enrollment projections (ADS December 1, 2008).  The facility infrastructure needs to be expanded to address overcrowded conditions and accommodate growing enrollment.  The committee formulated a set of options/recommendations that are educationally sound and are subject to ongoing review and revision by the Board of Education.

The Committee considered the following information to project the future needs and requirements of the school system:

- Enrollment projections and demographic data;

- Curriculum and educational program changes and needs, including special education;

- Technology and communication implications;

- General support services requirements as they relate to the core facilities, e.g., bathrooms, food services, and storage;

- Exterior site services, e.g., transportation, parking, traffic and playgrounds;

- The completion of modular construction at Osborn Hill and Sherman Elementary Schools;

- The relocation of useable portables from Osborn Hill Elementary School to Riverfield Elementary School;

- The relocation of a useable portable from Osborn Hill Elementary School to replace an aged portable used as the transportation office at 1 Rod Highway;

- The approval of funding for the renovation and addition of Stratfield Elementary School;

- The establishment of a building committee to address an addition and renovation at Fairfield Woods Middle School; and

- The current economic climate and fiscal constraints that caused several of the projects proposed for 2009-10 to be deferred.

According to current projections (ADS December 1, 2008), by the year 2015 the overall school enrollment in the Fairfield Public Schools will be at 10,224 students, or 107% of capacity without portables.  Because the population is not evenly distributed in Fairfield, elementary schools will range in utilization from 75% to 118% with an average of 99% while middle schools will range in utilization from 99% to 112% with an average of 108% and the high schools will range in utilization between 113% and 125% with an average of 119%.  In 2015 the following eight schools will have significant overcrowding, based on current projections; all of these schools are overcrowded today.

- Holland Hill Elementary School

- Mill Hill Elementary School

- Riverfield Elementary School

- Roger Ludlowe Middle School

- Tomlinson Middle School

- Fairfield Ludlowe High School

- Fairfield Warde High School

Boundary Recommendations

A district-wide boundary shift or realignment of the feeder pattern from elementary schools to middle schools and ultimately to the high schools will be necessary by 2011 when the Fairfield Woods Middle School addition is expected to be completed.  At the same time, minor adjustments to the elementary attendance zones may provide for more consistent utilization rates across the district.  It is preferable for the Board of Education to vote on a plan by June 2010 to allow for adequate planning on the parts of schools and families for the transition.  However, realignment and redistricting alone would not be an effective way for Fairfield to manage school enrollments.  This is so because no boundary solution will reduce school enrollments lower than the optimal capacity since there are too few seats within the various levels to accommodate the projected enrollment.

New Construction Recommendations

To reach optimal capacity standards in 2018, based on the Board’s 90%, 85%, 85% utilization rate, 1,672 additional seats would be required.  This is further defined as 161 seats at the elementary school level, 576 seats at the middle school level and 935 seats at the high school level.  These are based on the December 1, 2008 enrollment projections completed by Applied Data Services.  These may change when the October 1, 2009 enrollments are factored into future projections.  In addition to the need for additional classroom space and the removal of portable classrooms, additions to core areas, renovations to bring schools to current standards and ongoing maintenance upgrades are necessary.

Elementary School Level Options

Although both in 2015 and 2018 the number of available elementary seats is sufficient to meet the projected enrollment, there is a need for one-hundred and sixty-one (161) seats to meet the 90% utilization rate in 2018.  There are several ways to address the overcrowding conditions and reduction of the heavy reliance on portable classrooms at the elementary school level.  One method is to provide additional space in the form of additions and renovations at selected schools that are over capacity, i.e., above 90% utilization in the year 2018 as depicted in the right side of the chart on page 7 of this report.  This method adds space where the children are located and is included within the time line within this report.  With either approach, it may be prudent for the First Selectman and the Town to explore the purchase of land for potential future school use.

Middle School Level Options

While two hundred and thirty-nine (239) new seats are required to meet the projected middle school enrollment in 2010, one hundred and eighty (180) new permanent seats are required at the middle school level to meet the projected enrollment in the year 2015.  The construction of an addition and renovation to Fairfield Woods Middle School, which would upgrade that school to the level of the other two middle schools and require some student redistricting, is the alternative that has been selected by the Town to address the overcrowding conditions at the middle school level.  This would assist toward the suggested goal of an 85% utilization rate at the middle school level in the long term.

High School Level Options

Five hundred and thirty (530) new permanent seats are required at the high school level to meet the projected enrollment in the year 2015.  There are several ways to address the overcrowding conditions at the high school level and operate the high schools at an 85% utilization rate.  One is to add space in the high schools, where feasible.  This method adds space where the children are located.  Another possibility is to add core area space to cafeterias, library media centers, etc. and use existing classroom space for multiple faculty members, where feasible.  An addition at the middle school level may require some student redistricting at the high school level.

The following report includes the supporting data and variables associated with the above recommendations and a suggested timeline for the implementation of the recommendations with approximate cost estimates in 2009/2010 dollars.  The District should pay close attention to these variables, including enrollment projections, housing development, student migration and programmatic changes that affect facilities, in order to take the necessary steps to address population shifts as they occur in a proactive, rather than a reactive, manner.  The contents of this document must be continually reviewed and updated.  As the conditions and factors within Fairfield change, so must the plans for the future.  With any approach, the Board of Education recommends that it may be prudent for the First Selectman and the Town to explore the purchase of land for potential future school use.

FAIRFIELD PUBLIC SCHOOLS

SUMMARY OF ENROLLMENT PROJECTION

BY SCHOOL AND YEAR (3-YEAR SURVIVAL RATIO)

December 1, 2008 - Applied Data Services

| SCHOOL | YEAR |
| --- | --- |
|  | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 |
| BURR | 449 | 414 | 408 | 393 | 398 | 404 |
| DWIGHT | 322 | 315 | 305 | 296 | 289 | 277 |
| HOLLAND | 350 | 343 | 343 | 343 | 330 | 325 |
| JENNINGS | 356 | 350 | 355 | 343 | 332 | 328 |
| McKINLEY | 416 | 410 | 394 | 392 | 370 | 376 |
| MILL HILL | 470 | 472 | 473 | 460 | 454 | 446 |
| N.STRATFIELD | 502 | 498 | 499 | 502 | 483 | 482 |
| OSBORN HILL | 527 | 521 | 523 | 522 | 514 | 509 |
| RIVERFIELD | 478 | 470 | 473 | 451 | 440 | 446 |
| SHERMAN | 446 | 434 | 411 | 413 | 390 | 382 |
| STRATFIELD | 542 | 524 | 531 | 534 | 526 | 538 |
| FWMS | 605 | 675 | 674 | 699 | 688 | 684 |
| RLMS | 889 | 952 | 969 | 1019 | 1044 | 1017 |
| TMS | 770 | 779 | 821 | 843 | 876 | 870 |
| FWHS | 1250 | 1270 | 1298 | 1344 | 1423 | 1483 |
| FLHS | 1376 | 1434 | 1476 | 1520 | 1581 | 1640 |
| TOTAL K-12 | 9748 | 9861 | 9953 | 10074 | 10138 | 10207 |
| ECC | 48 | 41 | 45 | 44 | 44 | 45 |
| ALTERNATIVE HS | 48 | 49 | 50 | 52 | 55 | 57 |
| TOTAL | 9844 | 9951 | 10048 | 10170 | 10237 | 10309 |

FAIRFIELD PUBLIC SCHOOLS

SUMMARY OF ENROLLMENT PROJECTION

BY SCHOOL AND YEAR (3-YEAR SURVIVAL RATIO)

December 1, 2008 - Applied Data Services

| SCHOOL | YEAR |
| --- | --- |
|  | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 |
| BURR | 386 | 391 | 390 | 390 | 391 |
| DWIGHT | 288 | 291 | 290 | 291 | 292 |
| HOLLAND | 323 | 327 | 325 | 325 | 326 |
| JENNINGS | 334 | 337 | 335 | 335 | 335 |
| McKINLEY | 371 | 376 | 373 | 373 | 374 |
| MILL HILL | 443 | 447 | 445 | 445 | 446 |
| N.STRATFIELD | 470 | 475 | 473 | 472 | 472 |
| OSBORN HILL | 492 | 498 | 494 | 492 | 493 |
| RIVERFIELD | 443 | 447 | 445 | 445 | 446 |
| SHERMAN | 386 | 391 | 390 | 390 | 391 |
| STRATFIELD | 503 | 509 | 507 | 507 | 507 |
| FWMS | 681 | 644 | 649 | 627 | 638 |
| RLMS | 1052 | 983 | 1010 | 952 | 969 |
| TMS | 838 | 778 | 750 | 762 | 774 |
| FWHS | 1518 | 1578 | 1521 | 1561 | 1504 |
| FLHS | 1671 | 1752 | 1751 | 1725 | 1671 |
| TOTAL K-12 | 10199 | 10224 | 10148 | 10092 | 10029 |
| ECC | 44 | 45 | 45 | 45 | 45 |
| ALTERNATIVE HS | 58 | 61 | 60 | 60 | 58 |
| TOTAL | 10301 | 10330 | 10253 | 10197 | 10132 |

BUILDING USE AND CAPACITY REPORT  (October 27, 2009)

In order to better facilitate an understanding of any enrollment analysis and forecast, this report provides an explanation and updated assessment of the present utilization of permanent school facilities within the district.  All instructional spaces were reviewed and the number of students that can be accommodated in each school is indicated.  There has been a general acceptance that optimal space utilization for public schools is 90% at the elementary level and 85% at the middle and high school levels.  At each of these utilization levels, core facilities are kept intact for their original purpose and teachers have dedicated classrooms for extra help and collaboration.

Rated Capacity Verses Functional Use Capacity

| School |  | Capacity without Portables | Capacity with Portables | Ideal 90% 85% 85% Based on Capacity without Portables | October 1, 2009 Enrollment | Utilization Rate w/o Portables | October 1, 2010 Enrollment | Utilization Rate w/o Portables | October 1, 2015 Enrollment | Utilization Rate w/o Portables | October 1, 2018 Enrollment | Utilization Rate w/o Portables | Space to Meet 90/85/85 Rule - 2018 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Burr |  | 504 | 504 | 454 | 419 | 0.83 | 408 | 0.81 | 391 | 0.78 | 391 | 0.78 |  |
| Dwight |  | 378 | 378 | 340 | 316 | 0.84 | 305 | 0.81 | 291 | 0.77 | 292 | 0.77 |  |
| Holland Hill | 315 | 399 | 284 | 335 | 1.06 | 343 | 1.09 | 327 | 1.04 | 326 | 1.03 | Add |
| Jennings |  | 357 | 378 | 321 | 352 | 0.99 | 355 | 0.99 | 337 | 0.94 | 335 | 0.94 |  |
| McKinley |  | 504 | 504 | 454 | 451 | 0.89 | 394 | 0.78 | 376 | 0.75 | 374 | 0.74 |  |
| Mill Hill |  | 378 | 483 | 340 | 478 | 1.26 | 473 | 1.25 | 447 | 1.18 | 446 | 1.18 | Add |
| No. Stratfield | 483 | 483 | 435 | 478 | 0.99 | 499 | 1.03 | 475 | 0.98 | 472 | 0.98 |  |
| Osborn Hill | 504 | 504 | 454 | 551 | 1.09 | 523 | 1.04 | 498 | 0.99 | 493 | 0.98 |  |
| Riverfield |  | 399 | 504 | 359 | 466 | 1.17 | 473 | 1.19 | 447 | 1.12 | 446 | 1.12 | Add |
| Sherman |  | 483 | 504 | 435 | 474 | 0.98 | 411 | 0.85 | 391 | 0.81 | 391 | 0.81 |  |
| Stratfield* |  | 504 | 504 | 454 | 492 | 0.98 | 531 | 1.05 | 509 | 1.01 | 507 | 1.01 |  |
| Total |  | 4,809 | 5,145 | 4328 | 4,812 | 1.00 | 4,715 | 0.98 | 4,489 | 0.93 | 4,473 | 0.93 | 4,970 |
| FWMS** |  | 650 |  | 553 | 672 | 1.03 | 674 | 1.04 | 644 | 0.99 | 638 | 0.98 |  |
| RLMS |  | 875 |  | 744 | 966 | 1.10 | 969 | 1.11 | 983 | 1.12 | 969 | 1.11 |  |
| TMS |  | 700 |  | 595 | 773 | 1.10 | 821 | 1.17 | 778 | 1.11 | 774 | 1.11 |  |
| Total |  | 2,225 |  | 1,891 | 2,411 | 1.08 | 2,464 | 1.11 | 2,405 | 1.08 | 2,381 | 1.07 | 2,801 |
| FLHS |  | 1,400 |  | 1,190 | 1,437 | 1.03 | 1,476 | 1.05 | 1,752 | 1.25 | 1,671 | 1.19 |  |
| FWHS |  | 1,400 |  | 1,190 | 1,279 | 0.91 | 1,298 | 0.93 | 1,578 | 1.13 | 1,504 | 1.07 |  |
| Total |  | 2,800 |  | 2,380 | 2,716 | 0.97 | 2,774 | 0.99 | 3,330 | 1.19 | 3,175 | 1.13 | 3,735 |
|  | Ideal Utilization is 90% of capacity at the elementary level and 85% of capacity at the secondary level. |  |  |

*Funding has been approved for the renovation and addition of Stratfield Elementary School.

**A building committee has been established for Fairfield Woods Middle School.

REVISED

ENROLLMENT PROJECTIONS

Development of 10-year student projections (K-12) took into consideration existing elementary attendance, regional birthrates, new housing and construction projections and past and future enrollment projection techniques.

The purpose of this report is to gather, validate and present figures for enrollment projections for the Fairfield Public School District for the next five years and, if possible, for the next ten years.

Every year the District makes enrollment projections.  Past projections have been examined and compared to actual enrollments as follows:

Accuracy of Enrollment Projections – Fairfield Public Schools

October 1 Enrollments

|  | Projected | Actual | Deviation | % of Deviation | % of Accuracy |
| --- | --- | --- | --- | --- | --- |
| 1996-97 | 7,318 | 7,379 | 61 | 0.83% | 100.83% |
| 1997-98 | 7,617 | 7,471 | (146) | -1.92% | 98.08% |
| 1998-99 | 7,621 | 7,597 | (24) | -0.31% | 99.69% |
| 1999-00 | 7,838 | 7,787 | (51) | -0.65% | 99.35% |
| 2000-01 | 8,099 | 8,042 | (57) | -0.70% | 99.30% |
| 2001-02 | 8,350 | 8,284 | (66) | -0.79% | 99.21% |
| 2002-03 | 8,504 | 8,480 | (24) | -0.28% | 99.72% |
| 2003-04 | 8,746 | 8,723 | (23) | -0.26% | 99.74% |
| 2004-05 | 8,863 | 8,957 | 94 | 1.06% | 101.06% |
| 2005-06 | 9,209 | 9,195 | (14) | -0.15% | 99.85% |
| 2006-07 | 9,319 | 9,424 | 105 | 1.13% | 101.13% |
| 2007-08 | 9,519 | 9,709 | 190 | 2.00% | 102.00% |
| 2008-09 | 10,010 | 10,032 | 22 | 0.22% | 100.22% |

FACILITY EVALUATION

An assessment that considered the current use and condition of the facilities throughout the Fairfield Public Schools (including regular and special area classrooms, technology centers, grounds, parking, libraries/media centers, athletic fields, gymnasiums, etc.) was conducted.  The Committee assessed the condition of facilities at each of the individual schools and their related sites within the Fairfield Public Schools based on information provided by Director of Operations Tom Cullen, faculty and parents.  The sub-committee reviewed all instructional spaces and those not used for instruction.  In addition, principals were asked to participate in the review of the facilities in order to provide perspective and insight with regard to programs and the use of assigned spaces.

Elementary Schools

Stratfield Elementary School

(Oldest School in the District)

Full renovation and addition (A building committee has been established, architect and project team have been hired and the project is in progress)

Design and install new six classroom addition and much needed renovation to existing school building

Eliminate the four portable classrooms, past their life expectancy

Investigate library media center size and capacity with computers

Investigate gymnasium and cafeteria size with enrollment

Investigate all building code, life safety code and fire code reach in requirements for upgrading existing building

Design and install new HVAC fresh air and air-conditioning system

Design and install new fire sprinkler system

Parking issues

Expand parking lots for future staff, visitors and growing enrollment; parent entrance drop off interferes with buses

Investigate property next door owned by the Town

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Sherman Elementary School

Steel fabricated modular building (This project was successfully completed for the start of 2009-2010 school year)

Design and install a new modular six classroom addition

Eliminate the five portable classrooms, past their life expectancy

Investigate library media center size and capacity with computers

Investigate the infill of the courtyard to add space to core building

Investigate all building code, life safety code and fire code reach in requirements for upgrading existing building

Design and install new HVAC fresh air and air-conditioning system

Design and install new fire sprinkler system

Parking issues

Expand parking lots for future staff, visitors and growing enrollment

Extend sidewalk along front entrance loop for improved safety

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Osborn Hill Elementary School

Steel fabricated modular building (This project was successfully completed for the start of 2009-2010 school year)

Design and install a new modular five classroom addition.  Eliminate the four portable classrooms, demolish one, relocate two to Riverfield School and relocate one to Transportation Department

Design and install a new connector corridor with storage spaces and egress requirements and investigate core facilities

Investigate all building code, life safety code and fire code reach in requirements for upgrading existing building

Investigate the gymnasium size for the school enrollment

Design and install new HVAC fresh air and air-conditioning system

Parking issues

Expand parking lots for future staff, visitors and growing enrollment

Extend sidewalk along front entrance loop for improved safety

Kitchen storage issues

Expand kitchen for extra storage, refrigerators, and freezers

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Riverfield Elementary School

Renovation and addition to building to eliminate the five portable classrooms (A building committee needs to be established)

Design and install an addition to expand school by six classrooms

Investigate all building code, life safety code and fire code reach in requirements for upgrading existing building

Investigate gymnasium size for the school enrollment

Investigate cafeteria size and capacity

Investigate library media center size and capacity with computers

Investigate core facilities

Design and install new fire sprinkler system

Design and install new HVAC fresh air and air-conditioning system

Parking Issues

Expand parking lots for future staff, visitors and growing enrollment

Extend sidewalk along front entrance loop for improved safety

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Mill Hill Elementary School

Addition to building to eliminate the five portable classrooms

Design and install an addition to expand school by six classrooms

Investigate library media center size and capacity with computers

Investigate cafeteria size and capacity; it is the smallest in the District

Investigate core facilities

Investigate all building code, life safety code and fire code reach in requirements for upgrading existing building

Design and install new HVAC fresh air and air-conditioning system

Investigate dual fuel capability

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Parking issues

Expand parking lots for future staff, visitors and growing enrollment

Extend sidewalk along front entrance loop for improved safety

Security systems and safety issues

Provide new increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Holland Hill Elementary School

Addition to building to eliminate three portable classrooms

Design and install an addition to expand school by four classrooms

Investigate library media center size and capacity with computers

Investigate cafeteria size and capacity

Investigate all building code, life safety code and fire code reach in requirements for upgrading existing building

Investigate core facilities

Design and install new fire sprinkler system

Design and install new HVAC fresh air and air-conditioning system

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Parking issues

Expand parking lots for future staff, visitors and growing enrollment

Extend sidewalk along front entrance loop for improved safety

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Dwight Elementary School

Full renovation and upgrades, including ADA

Provide an ADA study to upgrade the building and the site

Include space for a new elevator

Connect the two building wings together with a closed-in connector corridor for student and staff safety

Design and install new fire sprinkler system

Design and install new HVAC fresh air and air-conditioning system

Good site for expansion of classrooms and LMC

Expand the library media center; it is the smallest in the District

Investigate the size of the gymnasium; it is the smallest in the District

Investigate cafeteria size and capacity

Investigate core facilities

Expand space and renovate to add classrooms and storage needs

Security systems and safety issues

Provide new, increased security and safety measures

Parking issues

Expand parking lots for future staff, visitors and growing enrollment

Extend sidewalk along front entrance loop for improved safety

Relocate high electrical wires and telephone poles for bus and truck traffic

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Septic system upgrade/replacement

Design new septic system for replacement of existing system

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Jennings Elementary School

Full renovation and upgrade of building

Eliminate the one portable as it relates to the existing building needs

Cosmetic upgrades throughout

Investigate library media center size with computers

Investigate cafeteria size and capacity

Investigate the size of the gymnasium

Design and install new fire sprinkler system

Design and install new HVAC fresh air and air-conditioning system

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Parking issues

Expand parking lots for future staff, visitors and growing enrollment

Extend sidewalk along front entrance loop for improved safety

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Possible future addition and core facility upgrade to address increase in enrollment

North Stratfield Elementary School

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Parking issues

Expand parking lots for future staff, visitors and growing enrollment

Extend sidewalk along front entrance loop for improved safety

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Possible future addition and core facility upgrade to address increase in enrollment

McKinley Elementary School

Parking issues

Expand parking lots for future staff, visitors and growing enrollment

Extend sidewalk along front entrance loop for improved safety

Cultural diversity program fix and future program

Continue to monitor and implement state reported plan

Security systems and safety issues

Provide new, increased security and safety measures

Solar photovoltaic system installation

Future utilities to consider; find energy efficient ways to move forward

Burr Elementary School

Parking issues

Expand parking lots for future staff, visitors and growing enrollment

Extend sidewalk along front parking lot for improved safety

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Relocate custodial slop sink in kitchen manager’s office

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Boiler room upgrades, fixes, and repairs

Design and implement upgrades to boilers to access tubes and coils

Building HVAC control system upgrades

Design and install added controls for HVAC to better operating functions

Security systems and safety issues

Provide new, increased security and safety measures

Solar photovoltaic system installation

Future utilities to consider; find energy efficient ways to move forward

Middle Schools:

Fairfield Woods Middle School

Renovation and addition to building (A building committee has been established, architect and project team have been hired and the project is in progress)

Design and install an addition to expand school by twelve classrooms to deal with increased enrollment affecting TMS and RLMS

Consider a comprehensive redistricting plan to deal with overcrowding at TMS and RLMS after an addition is completed on FWMS

Investigate all building code, life safety code and fire code reach in requirements for upgrading existing building

Investigate the need for increased lockers to accommodate increased enrollment

Investigate cafeteria and ability to accommodate increased enrollment

Investigate core facilities to accommodate increased enrollment

Increased Special Ed classrooms required

Design and install new HVAC fresh air and air-conditioning system to add to existing system to cover entire school

New auditorium at this school for student assembly

Dual fuel capability at both boiler rooms as well as boiler room upgrades

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Parking issues

Expand parking lots for future staff, visitors, and growing enrollment; parent entrance drop off interferes with buses

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Tomlinson Middle School

Renovations

Evaluate the need for more lockers to accommodate increased enrollment

Evaluate cafeteria to determine if it accommodates increased enrollment

Investigate the need for five to six more classroom spaces for increased enrollment

Investigate core facilities to accommodate increased enrollment

Special education program and learning centers program studied for space needs

Auditorium not large enough for a full school assembly

Design and install new HVAC fresh air and air-conditioning system to add to existing system to cover entire school

Parking issues

Expand parking lots for future staff, visitors and growing enrollment; parent entrance drop off interferes with buses

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Roger Ludlowe Middle School

Renovations

Investigate the need for more lockers to accommodate increased enrollment

Investigate cafeteria size and ability to accommodate increased enrollment

Investigate the need for five to six more classroom spaces for increased enrollment

Assess UA space and impact of increased enrollment

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Parking issues

Expand parking lots for future staff, visitors and growing enrollment

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Security systems and safety issues

Provide new, increased security and safety measures

Solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

High Schools

Fairfield Ludlowe

Renovations

Investigate the need for more lockers to accommodate increased enrollment

Investigate cafeteria size and ability to accommodate increased enrollment

Investigate the need for five to six more classroom spaces for increased enrollment

Design and install new HVAC fresh air and air-conditioning system to add to existing system to cover entire school

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Fairfield Warde

Renovations

Investigate the need for more student lockers to accommodate increased enrollment

Investigate cafeteria and ability to accommodate increased enrollment

Investigate the need for five to six more classroom spaces for increased enrollment

Design and install new HVAC fresh air and air-conditioning system to add to existing system to cover entire school

Building storage issues

Find and/or build storage rooms for custodial and maintenance needs

Find and/or build storage rooms for staff and school materials

Kitchen storage issues

Expand kitchen for extra storage, refrigerators and freezers

Security systems and safety issues

Provide new, increased security and safety measures

Roof replacement and solar photovoltaic system

Future utilities to consider; find energy efficient ways to move forward

Alternative High School

In fiscal year 2008-2009 the CO-OP and PAL program were combined and the Alternative High School was created.  This program is housed in a leased facility located at 108 Biro Street formerly known as St. Emery’s School.  This lease is a three-year lease and was negotiated and facilitated by the Town of Fairfield.  We are proposing that the Town of Fairfield purchase this property so that this program can continue and grow.

In the following pages are year-by-year timelines and cost estimates for the construction and renovation projects detailed in this long-range plan.

We are presenting two separate timelines.  The difference lies in the scope of work to be done on our elementary schools.  The first timeline lists year-by-year costs for renovations and additions to increase student capacity at some of our eleven elementary schools, as well as renovations for our three middle schools and two high schools.  The second timeline lists year-by-year costs for renovations only (without additions) at our eleven elementary schools, as well as construction of a new 12th elementary school.  Timelines and cost figures for work at our middle and high schools are the same in both versions.

The timeline and cost estimates for a twelfth elementary school are included for informational and comparison purposes only, because as of June 24, 2008, the Fairfield Board of Education cannot endorse a twelfth elementary school.  The urgent need for school space, the significantly higher cost of building and operating a 12th elementary school, and the uncertainties of the funding process as well as locating and constructing a new school make it far too risky to choose over classroom additions to our existing schools.

The costs in each timeline are divided into three budgetary categories.  The first two, “Operating Budget” and “Non-Recurring Capital Budget” are appropriation requests made in the course of our annual January-to-May budget cycle.  The third category, “Capital Building Project Request” is a separate funding process that may take place at any time of the year.

Lastly, all middle school and high school projects are the same in both timelines, with respect to cost and year of appropriation.

Time Line and Cost Estimate for Projects Associated with Long Term Plan:

2008/2009

| Task | Operating Budget | Non Recurring Capital Budget | Capital Building Project Request |
| --- | --- | --- | --- |
| St. Emery’s School renovation for Alternative High School |  | $ 75,000 |  |
| St. Emery’s Lease 2008 3-year agreement ($40,000 $45,000 $50,000) | $ 40,000 |  |  |
| Sherman School New acoustical ceiling and lights |  | $ 250,000 |  |
| Dwight School New windows | $ 125,000 * | $ 350,000 * |  |
| Riverfield School New bathrooms | $ 250,000 |  |  |
| Stratfield School New addition and building renovations |  |  | $ 15,000,000 * |
| Continue Preventative Maintenance Programs | $ 500,000 |  |  |
| Sherman School New steel fabricated modular building |  |  | $ 1,850,000 * |
| Central Office Administration Lease and agreement | $ 69,078 |  |  |
| Osborn Hill School New steel fabricated modular building |  |  | $ 1,645,000 * |
| Osborn Hill School New kitchen storage room expansion |  | $ 143,250 |  |
| FLHS replace one 1962 boiler |  | $ 150,000 |  |
| Maintenance Dept. Lease expires 2009 Plan for another 3-year lease ($70,000, $75,000, $80,000) | $ 70,000 |  |  |
| 2008/2009 TOTAL | $ 1,054,078 | $ 968,250 | $ 18,495,000 |
| SDE Reimbursements for School Projects and/or State of Connecticut Solar Power Incentives/Rebates | ($ 22,500) | ($ 63,000) | ($ 3,941,500) |
| 2008/2009 Net Total | $ 1,076,578 | $ 905,250 | $ 14,553,500 |

2009/2010

| Task | Operating Budget | Non Recurring Capital Budget | Capital Building Project Request |
| --- | --- | --- | --- |
| St. Emery’s lease for Alternative High School | $ 45,000 |  |  |
| Continue Preventative Maintenance Programs | $ 500,000 |  |  |
| Burr School Boiler/Boiler Room modifications to 2004 boilers |  | $ 150,000 |  |
| Osborn Hill Replace two 1957 boilers |  | $ 250,000 |  |
| Central Office Administration Lease and agreement | $ 73,247 |  |  |
| FWMS New twelve classroom addition and renovations new auditorium |  |  | $ 8,500,000 * |
| TMS New balcony expansion to increase auditorium capacity |  | $ 100,000 * |  |
| Maintenance Dept. Lease and agreement | $ 77,623 |  |  |
| 2009/2010 TOTAL | $ 693,247 | $ 500,000 | $ 8,500,000 |
| SDE Reimbursements for School Projects and/or State of Connecticut Solar Power Incentives/Rebates |  |  | ($ 2,185,350) |
| 2009/2010 Net Total | $ 693,247 | $ 500,000 | $ 6,314,650 |

2010/2011

| Task | Operating Budget | Non Recurring Capital Budget | Capital Building Project Request |
| --- | --- | --- | --- |
| St. Emery’s School Alternative High School lease | $ 50,000 |  |  |
| Riverfield School New six classroom addition and renovations |  |  | $ 4,280,000 ** |
| RLMS Siding treatment | $ 100,000 |  |  |
| Osborn Hill School New connector addition and core upgrades |  |  | $ 1,650,000 ** |
| Sherman School New core upgrades |  |  | $ 1,925,000 ** |
| Dwight School New bathrooms | $ 250,000 ** |  |  |
| FLHS New windows | $ 250,000 ** | $ 1,250,000 ** |  |
| FWMS Replace two 1954 boilers |  | $ 250,000 ** |  |
| Riverfield School New acoustical ceiling and lights |  | $ 250,000 ** |  |
| Central Office Administration Lease and agreement | $ 76,910 |  |  |
| Continue Preventative Maintenance Programs | $ 500,000 |  |  |
| Maintenance Dept. Lease and agreement | $ 81,506 |  |  |
| Major roof replacements with solar photovoltaic systems FWHS (Phase one of a four phase program) |  |  | $ 3,786,053 ** |
| 2010/2011 TOTAL | $ 1,306,910 | $ 1,750,000 | $ 11,641,053 |
| SDE Reimbursements for School Projects and/or State of Connecticut Solar Power Incentives/Rebates | ($ 64,275) | ($ 321,375) | ($ 3,440,003) |
| 2010/2011 Net Total | $ 1,242,635 | $ 1,428,625 | $ 8,201,050 |

2011/2012

| Task | Operating Budget | Non Recurring Capital Budget | Capital Building Project Request |
| --- | --- | --- | --- |
| St. Emery’s School Purchase for Alternative High School |  |  | To be determined |
| Holland Hill School New four classroom addition and renovations |  |  | $ 3,650,000 ** |
| FLHS New windows | $ 250,000 ** | $ 1,250,000 ** |  |
| Jennings School New bathrooms | $ 250,000 ** |  |  |
| Osborn Hill School New acoustical ceiling and lights |  | $ 250,000 ** |  |
| Riverfield School New core upgrades |  |  | $ 1,370,000 * |
| Central Office Administration Lease and agreement 10th and final year | $ 80,755 |  |  |
| FWMS New acoustical ceiling and lights (Partial) |  | $ 250,000 |  |
| Continue Preventative Maintenance Programs | $ 500,000 |  |  |
| FWMS Replace two 1959 boilers |  | $ 300,000 |  |
| Maintenance Dept. Lease and agreement | $ 85,581 |  |  |
| Major roof replacements with solar photovoltaic systems FWHS (Phase two of a four phase program) |  |  | $ 3,786,053 * |
| 2011/2012 TOTAL | $ 1,165,755 | $ 2,050,000 | $ 8,806,053 |
| SDE Reimbursements for School Projects and/or State of Connecticut Solar Power Incentives/Rebates | ($ 64,275) | ($ 321,375) | ($ 2,711,125) |
| 2011/2012 Net Total | $ 1,101,480 | $ 1,728,625 | $ 6,094,928 |

2012/2013

| Task | Operating Budget | Non Recurring Capital Budget | Capital Building Project Request |
| --- | --- | --- | --- |
| St. Emery’s School Purchase for Alternative High School |  |  | To be determined |
| TMS and RLMS Upgrades for enrollment increase | $ 250,000 |  |  |
| Mill Hill School New addition and renovations |  |  | $ 3,650,000 ** |
| FWHS New windows | $ 250,000 ** | $ 1,500,000 ** |  |
| Holland Hill School New core upgrades |  |  | $ 1,700,000 ** |
| Mill Hill School New bathrooms | $ 250,000 ** |  |  |
| New Central Office Administration Lease and agreement |  |  | To be determined |
| Continue Preventative Maintenance Programs | $ 500,000 |  |  |
| Dwight School Replace two 1962 boilers |  | $ 300,000 |  |
| Maintenance Dept. Lease and agreement lease expires 2012 |  |  | To be determined |
| Major roof replacements with solar photovoltaic systems FWHS (Phase three of a four phase program) |  |  | $ 3,786,053 * |
| 2012/2013 TOTAL | $ 1,250,000 | $ 1,800,000 | $ 9,136,053 |
| SDE Reimbursements for School Projects and/or State of Connecticut Solar Power Incentives/Rebates | ($ 64,275) | ($ 385,650) | ($ 2,795,968) |
| 2012/2013 Net Total | $ 1,185,725 | $ 1,414,350 | $ 6,340,085 |

2013/2014

| Task | Operating Budget | Non Recurring Capital Budget | Capital Building Project Request |
| --- | --- | --- | --- |
| St. Emery’s School Purchase for Alternative High School |  |  | To be determined |
| FWHS Upgrades for enrollment increase | $ 250,000 |  |  |
| FLHS Upgrades for enrollment increase | $ 250,000 |  |  |
| FWHS Cafeteria/kitchen renovation and upgrade due to enrollment increase |  |  | To be determined |
| FLHS Cafeteria/kitchen renovation and upgrade due to enrollment increase |  |  | To be determined |
| Mill Hill School New acoustical ceiling and lights |  | $ 250,000 * |  |
| RLMS Siding treatment | $ 100,000 |  |  |
| Mill Hill School New core upgrades |  |  | $ 2,225,000 ** |
| FWHS New windows | $ 250,000 ** | $ 1,500,000 ** |  |
| Osborn Hill School New bathrooms | $ 250,000 * |  |  |
| New Central Office Administration Lease and agreement |  |  | To be determined |
| Continue Preventative Maintenance Programs | $ 500,000 |  |  |
| Maintenance Dept. Lease and agreement |  |  | To be determined |
| Major roof replacements with solar photovoltaic systems FWHS (Phase four of a four phase program) |  |  | $ 3,786,053 * |
| 2013/2014 TOTAL | $ 1,600,000 | $ 1,750,000 | $ 6,011,053 |
| SDE Reimbursements for School Projects and/or State of Connecticut Solar Power Incentives/Rebates | ($ 64,275) | ($ 385,650) | ($ 1,992,530) |
| 2013/2014 Net Total | $ 1,535,725 | $ 1,364,350 | $ 4,018,523 |

2014/2015

| Task | Operating Budget | Non Recurring Capital Budget | Capital Building Project Request |
| --- | --- | --- | --- |
| St. Emery’s School Purchase for Alternative High School |  |  | To be determined |
| Maintenance Dept. Lease and agreement |  |  | To be determined |
| North Stratfield School Replace two 1964 boilers |  | $ 300,000 |  |
| TMS Ceiling and lights |  | $ 350,000 |  |
| FWHS New bathrooms |  | $ 1,250,000 ** |  |
| Dwight School New addition with ADA upgrades |  |  | $ 2,500,000 ** |
| Continue Preventative Maintenance Programs | $ 500,000 |  |  |
| New Central Office Administration Lease and agreement |  |  | To be determined |
| Major roof replacements with solar photovoltaic systems Dwight |  |  | $ 1,920,797 |
| 2014/2015 TOTAL | $ 500,000 | $ 1,900,000 | $ 4,420,798 |
| SDE Reimbursements for School Projects and/or State of Connecticut Solar Power Incentives/Rebates | ($ 32,137) | ($ 102,840) | ($ 1,212,162) |
| 2014/2015 Net Total | $ 467,863 | $ 1,797,160 | $3,208,636 |

2015/2016

| Task | Operating Budget | Non Recurring Capital Budget | Capital Building Project Request |
| --- | --- | --- | --- |
| St. Emery’s School Purchase for Alternative High School |  |  | To be determined |
| Dwight School New core upgrades |  |  | $ 1,325,000 ** |
| Maintenance Dept. Lease and agreement |  |  | To be determined |
| Jennings School Renovation and upgrades |  |  | $ 2,450,000 ** |
| TMS Window replacement | $ 125,000 | $ 700,000 |  |
| Jennings School Replace two 1966 boilers |  | $ 300,000 |  |
| FWMS New bathrooms |  | $ 700,000 |  |
| Osborn Hill School New windows | $ 125,000 ** | $ 400,000 ** |  |
| FLHS New bathrooms |  | $ 1,250,000 ** |  |
| Jennings School New acoustical ceiling and lights |  | $ 250,000 ** |  |
| New Central Office Administration Lease and agreement |  |  | To be determined |
| Major roof replacements with solar photovoltaic systems Sherman |  |  | $ 2,915,785 |
| 2015/2016 TOTAL | $ 250,000 | $ 3,600,000 | $ 6,690,785 |
| SDE Reimbursements for School Projects and/or State of Connecticut Solar Power Incentives/Rebates | ($ 64,275) | ($ 282,810) | ($ 2,000,154) |
| 2015/2016 Net Total | $ 185,725 | $ 3,317,190 | $ 4,690,631 |

2016/2017

| Task | Operating Budget | Non Recurring Capital Budget | Capital Building Project Request |
| --- | --- | --- | --- |
| St. Emery’s School Purchase for Alternative High School |  |  | To be determined |
| Jennings School New core upgrades |  |  | $ 915,000 ** |
| Maintenance Dept. Lease and agreement |  |  | To be determined |
| Mill Hill School New windows | $ 125,000 ** | $ 350,000 ** |  |
| North Stratfield School New acoustical ceiling and lights |  | $ 250,000 ** |  |
| RLMS Siding treatment | $ 100,000 |  |  |
| FWHS Replace two 1971 boilers | $ 350,000 |  |  |
| New Central Office Administration Lease and agreement |  |  | To be determined |
| Major roof replacements with solar photovoltaic systems Riverfield |  |  | $ 2,545,671 |
| 2016/2017 TOTAL | $ 575,000 | $ 600,000 | $ 3,460,671 |
| SDE Reimbursements for School Projects and/or State of Connecticut Solar Power Incentives/Rebates | ($ 32,137) | ($ 89,985) | ($ 1,187,721) |
| 2016/2017 Net Total | $ 542,863 | $ 510,015 | $ 2,272,950 |

2017/2018

| Task | Operating Budget | Non Recurring Capital Budget | Capital Building Project Request |
| --- | --- | --- | --- |
| St. Emery’s School Purchase for Alternative High School |  |  | To be determined |
| FLHS Replace two 1971 boilers | $ 550,000 |  |  |
| Maintenance Dept. Lease and agreement |  |  | To be determined |
| Stratfield Front façade cornice work and painting | $ 100,000 |  |  |
| FWMS Replace windows | $ 125,000 | $ 700,000 |  |
| New Central Office Administration Lease and agreement |  |  | To be determined |
| Major roof replacements with solar photovoltaic systems Osborn Hill |  |  | $ 3,199,387 |
| 2017/2018 TOTAL | $ 775,000 | $ 700,000 | $ 3,199,387 |
| SDE Reimbursements for School Projects and/or State of Connecticut Solar Power Incentives/Rebates | ($ 32,137) | ($ 179,970) | ($ 1,091,615) |
| 2017/2018 Net Total | $ 742,863 | $ 520,030 | $ 2,107,772 |

Notes to

Time Line and Cost Estimate for Projects Associated with Long Term Plan:

Estimates based on construction costs relative to fiscal budget year.

Central Office lease expires 2012 subject to negotiation with the landlord.

St. Emery lease (Alternative High School) expires 2011subject to negotiation with the landlord.

418 Meadow Street (Maintenance Building) expires 2012 subject to negotiation with the landlord.

* Denotes some form of reimbursement as described below (reimbursement rates vary from 18% to 25.71%

based on eligible items.)

There is a substantial State Department of Education reimbursement associated with replacing roofs after their

warranties run out which is the intent of this program.

There are substantial State Department of Education reimbursements associated with the renovation and additions onto school buildings.

There is a substantial Connecticut Incentive Rebate Program for the installation of solar photovoltaic systems on to school buildings.

There are substantial cost savings guaranteed yearly on all utilities used at the school buildings related to the installation of solar photovoltaic systems.

The previous timeline will be affected by changes in enrollment, ongoing budget considerations and consideration of a 12th elementary school timeline and the impact on short term space options, etc.

**These projects were not funded in 2009-2010 and/or were cut during the budget negotiations.

PORTABLE CLASSROOM STUDY				T. Cullen

October 15, 2009

###### SHERMAN ELEMENTARY SCHOOL

- HAS 1 PORTABLE CLASSROOM.

- BY COMPANIES: G.E., VANGUARD, ARTHUR and CARPENTER.

C.   YEARS INSTALLED:

# 2003 - (moved from FHS) – Purchase 2001.

###### MILL HILL ELEMENTARY SCHOOL

- HAS 5 PORTABLE CLASSROOMS.

- BY COMPANIES: CARPENTER and M-SPACE.

- YEARS INSTALLED:

2000 - Purchase.

2001 - Purchase.

2008 - (3 classrooms) - Purchase.

###### HOLLAND HILL ELEMENTARY SCHOOL

  - HAS 3 PORTABLE CLASSROOMS.

  - BY COMPANIES: G.E., VANGUARD and CARPENTER.

  - YEARS INSTALLED:

2007 - (2 classrooms) - Purchase.

2000 - Purchase.

###### RIVERFIELD ELEMENTARY SCHOOL

- HAS 5 PORTABLE CLASSROOMS.

- BY COMPANIES: G.E., CARPENTER and VANGUARD

- YEARS INSTALLED:

2009 - (2 classrooms) - Moved from Osborn Hill – Purchase 2000.

2004 - (3 classrooms) - Moved from FHS - Purchase 2001.

# STRATFIELD ELEMENTARY SCHOOL

- HAS 4 PORTABLE CLASSROOMS.

- BY COMPANY: G.E.

- YEARS INSTALLED:

1994 - (2 classrooms) - Purchase.

1995 - Purchase.

2003 - (moved from FHS) – Purchase 2001.

###### JENNINGS ELEMENTARY SCHOOL

- HAS 1 PORTABLE CLASSROOM.

- BY COMPANY: G.E.

- YEAR INSTALLED:

# 2002 - Purchase.

The following Elementary Schools DO NOT have any portable classrooms:

BURR ELEMENTARY SCHOOL

- DWIGHT ELEMENTARY SCHOOL

McKINLEY ELEMENTARY SCHOOL

NORTH STRATFIELD ELEMENTARY SCHOOL

E.	OSBORN HILL ELEMENTARY SCHOOL

The following Middle Schools DO NOT have any portable classrooms:

- FAIRFIELD WOODS MIDDLE SCHOOL

- ROGER LUDLOWE MIDDLE SCHOOL

C.   TOMLINSON MIDDLE SCHOOL

The following High Schools DO NOT have any portable classrooms:

###### FAIRFIELD LUDLOWE HIGH SCHOOL

- FAIRFIELD WARDE HIGH SCHOOL

- ALTERNATIVE HIGH SCHOOL

TRANSPORTATION

- HAS 1 PORTABLE CLASSROOM.

- YEAR INSTALLED:

2009 – (moved from Osborn Hill) – Purchase 2000.

Twelfth Elementary School Option

A Twelfth Elementary School – While not addressing any required renovations and code updates at many of our other elementary schools, there are other advantages besides cost that should be considered.

For example:

- Creating a 12th school would not impact current school operations because it likely will be new construction at a site devoid of staff and students as opposed to an addition at a building occupied by staff and students.

- Any school construction renovation at an existing school unless done completely during the summer months, may affect the school environment.

- The cost of busing and the need for it may decrease with a 12th elementary school.  This is consistent with the State’s initiative to promote and expand safe routes to schools, which encourages walking and bicycling to school.

- A 12th elementary school is consistent with school planning in that most objective reports recommend the reuse of an existing facility and/or that new facility be located where the population exists.

- 90% capacity provides a safe school space for our existing students, room to accommodate others in the event of a facility problem, and room to allow for new educational initiatives. (90% capacity can also be achieved by adding on to other schools.)

- 9 of our 11 elementary schools are more than 50 years old.  If enrollment declines, the swing space provided by a twelfth elementary school will allow major repairs/code updates to be performed in uninhabited schools.

Costs Related to Opening a Twelfth Elementary School:

| New Elementary School | Building Cost | Land Cost | Additional Annual Staffing Cost | Additional Costs to Renovate Other Elementary Schools |
| --- | --- | --- | --- | --- |
| 504 Students | $ 26M-$ 30M | To be determined | $ 1,362,508 | See Above |
| Reimbursement | 27% of eligible costs |  |  |  |

Facility Funding Options

Operating Budget – submitted for items less than $250K as part of the BOE’s budget request (No Bonding)

Non Recurring Capital Budget (as outlined in the First Selectman’s policy dated June 30, 2006)- submitted for items of at least $50K and less than $1M as part of the BOE’s budget request to be included in the Town’s Non Recurring Capital Budget

(Bonded 3-5 years)

Capital Building Project Request - submitted for items more than $1M with a Building Committee established by the Town

(Bonded 10-20 years)

BOE – Sub Committee

Facilities, Technology, and Long Term Planning

Elementary School Costs Break Out 2007/08

Additions to schools:

Riverfield					$ 2,400,000

Dwight				    	      800,000

Holland Hill			   	   	   2,000,000

Mill Hill			   	   	   2,200,000

Total					$ 7,400,000

____________________________________________________

Renovations to schools:

Riverfield					$ 1,880,000

Dwight			   	   	   1,700,000

Holland Hill			   	  	   1,650,000

Mill Hill			   	 	   1,450,000

Jennings			   	  	   2,450,000

Total					$ 9,130,000

____________________________________________________

Core building upgrades to schools:

Osborn Hill					$    143,250

Osborn Hill			   	   	   1,650,000

Sherman			   	   	   1,925,000

Riverfield					   1,370,000

Mill Hill					   2,225,000

Holland Hill					   1,700,000

Dwight					   1,325,000

Jennings					      915,000

Total					           $ 11,253,250

____________________________________________________

Grand Total				          $  27,783,250

# Text boxes

TOTAL:	20   Portable Classrooms

19   Are at Elementary Schools